## Sheet1
Site | Good_Estimates | Positive_ER | Positive_Avg_ER | Negative_GPP | Relationship_with_K600 | Biofouling | Model_failed | Notes
SSS001 |  | X | X |  |  |  |  | Used to work but it doesn't work anymore.
SSS002 | X |  |  |  | X |  | Bob | Check scatter dots on model plot
SSS003 | X |  |  |  | X |  | Bob | Check scatter dots on model plot
SSS004 | X
SSS005 | [5 empty] | X
SSS006 | X |  |  |  | X |  | Bob | Check DO curve, signal seems muted and then increase
SSS007 |  | X | X |  | X | ? |  | Very steep site.Check DO for biofouling. Lots of K600 variability
SSS008 | X | [5 empty] | Bob | Check model outputs plots and also some weird DO
SSS009 | X | Yes but only a couple days |  |  | X |  | Bob | Check model outputs plots and also some weird DO
SSS010 |  | X |  |  | X |  | X | High error in the ER and GPP predictions. Seems model could have failed? Why? Maybe try rerunning with orifinal K600 daily sdlog
SSS011 |  | X | X |  | X | ? |  | Steep site. K600 varies fron 40ish to 300ish. Worked before but not now K600 daily sdlog was not changed
SSS012 | X | [5 empty] | Bob | Check scatter dots on model plot
SSS013 | X | [5 empty] | Bob | Depth from July 25 to Ag 8th was kept constant
SSS014 | X |  |  |  | X ER
SSS015 | X |  |  |  | X
SSS016 |  | X | X |  | X GPP | ? |  | Check biofouling with Bob
SSS017 | X |  |  |  | X
SSS018 | X |  |  |  | X ER |  |  | The model fits are good, the sensors might have been moved we can keep the data and just average across deployment time.
SSS019 | X |  |  |  | X
SSS020 | X |  |  |  | X |  | Bob | Check scatter dots on model plot
SSS021 | X |  |  |  | X
SSS022 |  | X | X |  |  |  | Bob | Steep site. Check scatter dots on model plot. Double checking DO curve
SSS023 | ? |  |  |  | X |  | X | Check scatter dots on model plot. Remove days where DO was weird?
SSS024 | X |  |  |  | X |  |  | Depth from July 25 to Ag 8th was kept constant
SSS025 | X | [5 empty] | Bob | Little blip in model outputs curve, is it to worry about?
SSS026 | X |  |  |  | X ER
SSS027 | X |  |  |  | X |  | Bob | Check scatter dots on model plot
SSS028 |  | X | X |  |  |  |  | Remove the 4ish days where the DO drops a lot and see if there is a weird point THE WHOLE DAY the rerun
SSS029 | X |  |  |  | X ER
SSS030 | X |  |  |  | X ER
SSS031 | X
SSS032 | X | [5 empty] | Bob | Check scatter dots on model plot
SSS033 |  | X | X |  |  |  |  | Used to work but it doesn't work anymore.
SSS034 |  | X | X |  |  |  |  | DO data looks strange. Priors were changed for this run
SSS035 | X
SSS036 | X
SSS037 | X | [5 empty] | Bob | Check scatter dots on model plot
SSS038 | [6 empty] | X | Site really steep. Model failed Dosat curve looks really bad
SSS039 | X |  |  |  | X
SSS040 |  | X | X |  |  |  |  | Tried new pooling but didn't work. This site is very steep
SSS041 |  | X | X |  |  |  |  | It used to give good estimates, not anymore. Try relaxed pooling
SSS042 |  | X | X |  |  |  |  | Tried relaxed pooling but didn't work
SSS043 | X |  |  |  | X ER
SSS044 |  | X | X
SSS045 |  | X | X
SSS046 | [7 empty] | DO data needs to be cleaned up and model needs to be run again
SSS047 | X
SSS048 |  | X | [5 empty] | Used to work but it doesn't work anymore. Can we cut off the last days with positive ER?