## Sheet1
Site | Good_Estimates | Action | Positive_ER | Positive_Avg_ER | Negative_GPP | Relationship_with_K600 | Biofouling | Model_failed | Notes
SSS001 |  | Remove the extra outliers on the DO data by hand and rerun with KSD 0.05 | X | X |  |  |  | X | Seems that even after the cleaning there are still some DO points that cause the model to not perfrom great in those days. Seems like the data does do below sat. not super low but like 98-95% could it still give good estimates if we fix the points? | Bob | error_proc_iid and see if the errors are really broad if the estimates of the error are over the place then that is bad
SSS002 | X | KSD 0.05
SSS003 | X | KSD 0.05
SSS004 | X | Remove the last 10 (remvove starting from Agu 22nd) days because of biofouling. Can keep KSD as 0.02 | [5 empty] | Bob | Ask Bob if we should remove the last couple of says where the modeled and observed results seem more different. REMOVE THE LAST 9 DAYS BECAUSE OF BIOFOULING
SSS005 | X | KSD 0.05 |  |  |  | X | Removed days |  | Relationship with K600 weak and barely significant
SSS006 | X | Remove days where depth was changing a lot because of the dam. Need to remove the whole pulse |  |  |  | X |  | Bob | Seems that this site is affected by dam releases, ER seems to be following a pattern that matches with the flow but for the most part seems to be with realistic values it is positive just at the end. Should we remove the last couple of days and rerun? Model fits seems good to me but check with Bob PULL OUT THE DAYS WHERE DEPTH WAS REALLY HIGH OR WHERE IT WAS CHANGING A BUNCH. AGU 8, 15, 22, 29 | Bob
SSS007 | Never goes under saturation so will always give possitive ER | Lost site | X | X |  | X |  |  | Very steep site.Some strange model fits around the middle of the deployment. K600 decrases with time
SSS008 | X | Remove the 2 days after the sampling day. KSD 0.08 | [5 empty] | Bob | Check model outputs plots and also some weird DO. BAYESIAN MODELS WE IGNORE THE VARIANCE PARAMETERS BUT YET THEY ARE THE HARDEST TO FIT. THE COMPUTATION ON THIS ONE IS NIT SUPER GREAT BUT THE FITS MAYBE BE OK. MAYBE I CRANCKED DOWN TOO MUCH ON THE K600 DAILY SDLOG TRY RUNNING AT 0.08 GET SLIGLY BETTER FITS AND THE rHATS WILL LOOK A LOT BETETR AND STRONG K AND ER RELATIONSHIP | Bob
SSS009 | X | No action. Live with positive days | Yes but only a couple days |  |  | X |  | Bob | Check model outputs plots and also some weird DO. DATA IS NOT GREAT FOR ESTIMATING GAS EXCHANGE SO WE JUST HAVE TO LIVE WITH THE EQUIFINALITY AND THE POSITIVE VALUES | Bob
SSS010 |  | Try KSD 0.08 but probably lost site | X |  |  |  |  | X | High error in the ER and GPP predictions. Seems model could have failed? Why? Maybe try rerunning with original K600 daily sdlog | Re-run with pooling as 0.05 and 0.08 K600_daily_sdlog_sigm. 0.05 helped byt 0.08 didn't it still not working | Bob | 8% variation in the daily estimates of K600. Model is wanting it to be very skinny, it us fitting DO pretty well but the temp droevn changes are too big that it is hard to parse out the metabolism differences. To make light you need to check that the timing is right. Minimal code to run metabolism need to follow it exactly to see if it works
SSS011 | Never goes under saturation so will always give possitive ER | Lost site | X | X |  | X |  |  | Steep site. |  |  | Rhat 1st level of failre you can have non-sense and still have a low Rhat it doesn’t say anything about the model or the parameters. If computation works then you move to the next set of problems.
SSS012 | X | No action. Looks good
SSS013 | X | KSD 0.05 | [6 empty] | Depth from July 25 to Ag 8th was lost due to sensor lost. We used the USGS data to estimate depth for the rating curve estumated by Matt
SSS014 | X | Rerun KSD 0.2 | RERUN WITH 0.2 KDAILY SIGNA LOG |  |  | X ER |  | Bob | Check model fit curves with Bob. Relatiionship between K600 and ER exists, weak but significant
SSS015 | X | KSD 0.05 |  |  |  | X
SSS016 | It goes under saturation but only to 98-99% should it provide good results? | KSD 0.05 | X | X | [5 empty] | Bob
SSS017 | X | KS 0.1 and look at a picture of the stream. Tryin 0.08 first | RERUN SD 0.1. THERE IS A LOP OF GPPP AND NOT A LOT OF ER THIS SEEMS WEIRD IS THIS AN EXTREME ECOSYSTEM OR DID YOU MISSPECIFY RESP. TAKE A LOOK AT THE STREAM PICTURE AND SEE IF THERE ARE A LOT OF ALGAE |  |  | X |  | Bob | Check model fit plots
SSS018 | X | Check metadata to see if this was deployed at a different location after sampling day |  |  |  | X ER |  |  | Some bumpines in the curves for the model fits. Double check with Bob, other parameters seem good
SSS019 | X | KSD 0.05 |  |  |  | X |  |  | Relationship with K600 barely significant
SSS020 | X | KSD 0.05 |  |  |  | X
SSS021 | X | KSD 0.05 |  |  |  | X
SSS022 | Never goes under saturation so will always gfive possitive ER | KSD 0.1. Trying 0.08 first | X | X |  | X |  | X | Steep site. Check scatter dots on model plot look ok but the other parameters look off. Last time we had some days where the water depth was zero, that seems to be fized now, I think this is related to the barotroll fixings that Brie did
SSS023 | BAD DATA REMOVE | Bad site but KSD 0.1 Trying 0.08 first |  |  |  | X |  | X | Try with K600_daily_sdlog_sigma=0.05. Not re-run because deployment was probably not good for streamMetablizer. "Sensors and cotton strips deployed in middle of still to very slow-moving channel and tied to burned tree with orange rope"
SSS024 | X | KSD 0.05 |  |  |  | X |  |  | Depth from July 25 to July 27 was kept constant. The rest was interpolated from W10.
SSS025 | X | Can stay as is or KSD 0.05
SSS026 | X | Can stay as is or KSD 0.05 |  |  |  | X ER
SSS027 | X | Can stay as is or KSD 0.05 |  |  |  | X |  | Bob | Check scatter dots on model plot. Other metrics seem good
SSS028 |  | Lost site always fails, probably doesn't meet metabolism assumption | X | X |  |  |  | X | I tried removing the 4ish days where the DO drops a lot and re-run. Relaxed and tighten pooling and the model still failed. I still got possitive values for ER. The Raymond K600 estimates suggest this is a really steep site yet modele K600 is really low. No matter what model always fails | I feel this should work but doesn't. Bob!! | Find out in th SM specs when the models day starts. We can pterend is 4 am. Time is messed up off by hours oxygen is displaced by time. Don't use the calibrated one, get the rw data from the sensor you are so far away from sat that the calibration won't make an issue | Check pictures to make sure there are no ponds and look again at the sensor times to make sure it is not off by 6 hours
SSS029 | X | KSD 0.05 |  |  |  | X ER
SSS030 | X | Can stay as is or KSD 0.05 |  |  |  | X ER |  |  | Weak but significant correlation with K600
SSS031 | X | Can stay as is or KSD 0.05
SSS032 | X | KSD 0.05 | [5 empty] | Bob | K600 Rhat above threshold but not by much
SSS033 | A big chunk of data never goes under saturation so will always give possitive ER | Lost site | X | X |  |  |  | X | 28 days with positive ER
SSS034 | A big chunk of data never goes under saturation so will always gfive possitive ER | Lost site | X | X |  |  |  | X
SSS035 | X | KSD 0.05 |  |  |  | X
SSS036 | X | KS D 0.1. Trying 0.08 first | TRY AGAIN RELAXING KSD |  |  |  |  | Bob | Some bumps in the scatteplot of the model fits and Rhats and n_eff are not quite perfect | bob
SSS037 | X | KSD 0.05 | Bob approves but run for 2000 burn steps and 2000 saved steps. Actually-- Take it to 0.02 | [5 empty] | Rhats are horrible and there is also A LOT of error in ER. Run with these specs: bayes_specs = specs(bayes_name, K600_daily_meanlog_meanlog=log(K600estimate), K600_daily_meanlog_sdlog=0.7, K600_daily_sdlog_sigma=0.02, burnin_steps=1000, saved_steps=1000) | I re-ran with 600_daily_sdlog_sigma=0.005 but the Rhats don't seem to be wuite there yet
SSS038 |  | Lost site | [5 empty] | X | Not re-run because deployment was probably not good for streamMetablizer. Site really steep. Model failed. Field notes suggest that flow is subsurface. Probably doesn't meet stream metabolizer assumptions
SSS039 | X | Remove days with biofouling August 5,6,and 7. Rerun KSD 0.05 | Get rid of the days with the blip because of biofouling. August 5, 6 and 7 |  |  | X |  |  | Some bumps in the scatteplot of the model fits and Rhats and n_eff are not quite perfect | bob
SSS040 | Never goes under saturation so will always gfive possitive ER | Lost site | X | X
SSS041 |  | Stay as is lost site | X | ?
SSS042 | Never goes under saturation so will always gfive possitive ER | Lost site | X | X
SSS043 | X | Can stay as is or KSD 0.05 |  |  |  | X ER |  |  | Some bumps in the scatteplot of the model fits and Rhats and n_eff are not quite perfect | bob
SSS044 | Barely goes under saturation | Lost site | X | X |  |  |  |  | Some negative ER values but may not be enough to make the whole avg negative
SSS045 | Barely goes under saturation | Lost site | X | X
SSS046 | X | Can stay as is or KSD 0.05 |  |  |  | X |  | Bob | Check there is a blip in the model vs observed data.Rhat looks good
SSS047 | X | KSD 0.05 | [5 empty] | Bob | Blips on scatter plot and Rhat is not super perfect
SSS048 |  | KSD 0.05 | X | [5 empty] | Positive ER at the end as it doesn't go under Saturation, should we cut the positive days and rerun?
HALL AND BOLLEY

## 11-17-24
Site | Good_Estimates | Notes | Positive_ER | Positive_Avg_ER | Negative_GPP | Relationship_with_K600 | Biofouling | Model_failed | Notes
SSS001 |  |  | X |  |  | X |  |  | Overall very low ER. Mostly positive ER but might need to re-run at 0.08
SSS002 | X |  |  |  |  | X
SSS003 | X
SSS004 | X | 11/21 Remove 2 more days at the end? Might not make a big impact
SSS005 | X
SSS006 | X | 11/21 Could remove one more day in the middle. Computation looks good at KSD 0.02
SSS007 | Never goes under saturation |  | X
SSS008 | X
SSS009 | X
SSS010 | Postive ER |  | X
SSS011 | Never goes under saturation |  | X
SSS012 | X
SSS013 | X
SSS014 | X | 11/21 Reruning 0.1 something seems off on the model fits on the tail for some reason. Huge error ranges
SSS015 | X
SSS016 | Never goes under saturation |  | X
SSS017 | X
SSS018 | X
SSS019 | X
SSS020 | x |  |  |  |  | X
SSS021 | X
SSS022 | Never goes under saturation | OLD ONE MUCH BETTER | X
SSS023 | Bad site does not meet SM assumptions | [6 empty] | X
SSS024 | X
SSS025 | X
SSS026 | X |  |  |  |  | X
SSS027 | X |  |  |  |  | X
SSS028 | Bad site does not meet SM assumptions | [6 empty] | X
SSS029 | X | 11/21 n_eff error not super great still but seems the best
SSS030 | X |  |  |  |  | X
SSS031 | X | 11/21 Error ranges for ER a little high |  |  |  | X
SSS032 | X | 11/21 One day with larger error bar for ER but probably not a big deal for the avgs |  |  |  | X
SSS033 | A big chunk of data never goes under saturation so will always give possitive ER | OLD ONE MUCH BETTER | X |  |  |  |  | X
SSS034 | A big chunk of data never goes under saturation so will always gfive possitive ER |  | X
SSS035 | X | 11/21 n_eff error not super great still but seems the best |  |  |  | X
SSS036 | X | 11/21 Model fits are not great and also n_eff are not super ideal. ER is very low check with Bob
SSS037 | X |  |  |  |  | X
SSS038 | Bad site does not meet SM assumptions | [6 empty] | X
SSS039 | X
SSS040 | Never goes under saturation |  | X
SSS041 | X
SSS042 | Never goes under saturation |  | X
SSS043 | X |  |  |  |  | X
SSS044 | Never goes under saturation |  | X
SSS045 | Never goes under saturation |  | X
SSS046 | X
SSS047 | X | 11/21 Model fits are not great (some blips on the low do) and also n_eff are not super ideal. ER is very low check with Bob
SSS048 | X